[image: image1.png]MoCU

Minnesota State Colleges & Universities





Facilities 

Issued: April 15, 2002
For further information contact: 



Bill Breyfogle, Director, Construction and Support Services

651.649.5932 or bill.breyfogle@csu.mnscu.edu

Sieglinde Bier, Director of Support Services

651.649.5780 or sieglinde.bier@so.mnscu.edu

BACKGROUND

NFPA 25, the standard on testing, inspection and maintenance of water based fire protection systems, requires weekly testing of fire pumps.  However, the current insurer for MnSCU property and that of the State of Minnesota has agreed that MnSCU facilities may follow Minnesota Uniform Fire Code (MUFC) 98 Section 1001.5.2 which requires monthly no-flow testing of fire pumps.  

REQUIREMENTS
Monthly, a qualified individual (minimum level of Plant Maintenance Engineer) will conduct a no-flow test of the institution’s fire pumps.  This individual will determine if the pump is operating properly with no mechanical problems.  The test will be documented and the records kept for review.  They may be kept at the pump location or in another location that is convenient and where they may be periodically reviewed.

Automatic fire extinguishing systems shall be inspected at least annually (UFC Article 10, Sec 1001.5.2).  Minnesota State Amendments to the UFC states that the contractor must be licensed as a fire protection contractor to inspect sprinkler systems, which includes testing (MSA 299M.03).
In addition, regular maintenance must be performed on the pumps to ensure that they are always in excellent working condition.  
PROCESS

There are several excellent resources available to assist you in tracking the maintenance of your fire pumps, reviewing the testing procedures, and explaining the inspection requirements.  One of them is The National Fire Prevention Association (NFPA) which has an entire booklet devoted to this subject.  It is called NFPA 25: Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.   The 2002 edition will be available on April 30, 2002. 
Each campus should have a copy of these standards available to them.  If you are interested in obtaining one, you may do so from the NFPA website: nfpa.org/cataglog/products,  or from the Fire Instructors Association of Minnesota, (Tom Pressler 952.897.1008) or it may be available through your local bookstore.
Fire Pump Testing and Inspection Requirements


R


Requirement








