1. Workplace Electrical Safety Checklist
Faulty wiring is a leading cause of industrial fires. These suggestions can help you find and control possible trouble spots in your electrical system. Properly match fuses to the size of wire being used.
2. Replace all temporary wiring with approved permanent wiring properly installed to code.
3. Identify the circuits served by fuses, circuit breakers or disconnected switches and record them in the panel board directory.
4. Protect flexible cords and cables from physical damage. 
5. Keep motors clean of dust, dirt and oil accumulation so they don't overheat and burn out.
6. Maintain a clear space of at least 30 inches in front of all electrical panels.
7. Have a qualified electrician check flickering or dim incandescent lights, since this could indicate a damaged or overloaded circuit.
8. Make sure the insulating qualities of a splice are equal to or greater than the original cord.
9. Make certain there are no obstructions limiting air circulation near equipment ventilating openings.
10. Locate over-current protective devices (i.e., circuit breakers or fuses) where they can be reached easily and quickly.
